SECTION 11 13 00

LOADING DOCK EQUIPMENT

\*\* NOTE TO SPECIFIER \*\* Nova Technology; loading dock equipment, vehicle restraints, dock levelers, dock seals, dock shelters, safety gates.  
This section is based on the products of Nova Technology, which is located at:  
N90 W14507 Commerce Dr.  
Menomonee Falls, WI 53051  
Toll Free Tel: 800-236-7325  
Tel: 262-502-1591  
Fax: 262-502-1511  
Email: [request info (sales@novalocks.com)](http://admin.arcat.com/users.pl?action=UserEmail&company=Nova+Technology&coid=43493&rep=&fax=262-502-1511&message=RE:%20Spec%20Question%20(11160nov):%20%20&mf=)  
Web: [www.novalocks.com](http://www.novalocks.com)   
 [ [Click Here](http://www.arcat.com/arcatcos/cos43/arc43493.html) ] for additional information.  
Nova Technology is a manufacturer of loading dock equipment. Nova provides a complete line of vehicle restraints, mechanical, air powered and hydraulic dock levelers, edge-of-dock levelers, dock seals and shelters, safety barrier products, and other loading dock accessories to improve productivity, security and environmental control.

1. GENERAL
   1. SECTION INCLUDES

\*\* NOTE TO SPECIFIER \*\* Delete items below not required for project.

* + 1. Hydraulic Dock Levelers:
       1. Dock Levelers. (NHS Series)
       2. Dock Levelers. (NHS Series High Capacity)
    2. Air Powered Dock Levelers:
       1. Dock Levelers. (NAS Series)
    3. Mechanical Dock Levelers:
       1. Dock Levelers. (NMS Series)
    4. Edge-of-Dock Levelers:
       1. Edge-of-Dock Levelers. (Hydraulic)
       2. Edge-of-Dock Levelers. (Mechanical)
    5. Vehicle Restraints:
       1. Vertical Barrier Restraints. (Truck Lock)
       2. Vertical Barrier Restraints. (Lock-Up)
       3. Rotating Hook Restraints. (Lock & Load)
    6. Dock Seals and Shelters:
       1. Dock Seals with Head Pad. (FP Series)
       2. Dock Seals with Hood-Style Head Curtain. (FPH Series)
       3. Dock Seals with Head Pad. (FPU Series)
       4. Dock Seals with Hood-Style Head Curtain. (FPHU Series)
       5. Dock Shelters. (RF Series)
       6. Soft-Sided Shelters. (SS Series)
       7. Soft-Sided Shelters.
       8. Dairy Seal.
    7. Safety Gates:
       1. Dock Sentinel Safety Gate.
  1. RELATED SECTIONS

\*\* NOTE TO SPECIFIER \*\* Delete any sections below not relevant to this project; add others as required.

* + 1. Section 03 30 00 - Cast-in-Place Concrete.
    2. Section 26 05 00 - Common Work Results for Electrical.
  1. REFERENCES

\*\* NOTE TO SPECIFIER \*\* Delete references from the list below that are not actually required by the text of the edited section.

* + 1. ANSI MH14.1 - Loading Dock Levelers and Dock Boards.
    2. ANSI MH30.1 - Dock Leveling Devices.
    3. ANSI MH30.3 - Vehicle Restraining Devices: Safety, Performance, and Testing.
    4. ASTM A 500 - Standard Specification for Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes.
  1. SUBMITTALS
     1. Submit under provisions of Section 01 30 00 - Administrative Requirements.
     2. Product Data: Manufacturer's data sheets on each product to be used, including:
        1. Preparation instructions and recommendations.
        2. Storage and handling requirements and recommendations.
        3. Installation methods.
     3. Shop Drawings: Including details of construction and relationship with adjacent construction. Include clearances for servicing. Indicate items to be built-in and electrical requirements.
  2. QUALITY ASSURANCE
     1. Manufacturer Qualifications: Minimum 20 years' experience manufacturing similar equipment.
     2. Installer Qualifications: Minimum 2 years' experience installing similar equipment.
  3. DELIVERY, STORAGE, AND HANDLING
     1. Delivery, store and handle products in accordance with manufacturer's instructions.
  4. PROJECT CONDITIONS
     1. Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's recommended limits.
  5. WARRANTY
     1. Warranty: Provide manufacturer's standard limited warranty, and as specified with individual model numbers.

1. PRODUCTS
   1. MANUFACTURES
      1. Acceptable Manufacturer: Nova Technology, which is located at: N90 W14507 Commerce Dr.; Menomonee Falls, WI 53051; Toll Free Tel: 800-236-7325; Tel: 262-502-1591; Fax: 262-502-1511; Email: [request info (sales@novalocks.com)](http://admin.arcat.com/users.pl?action=UserEmail&company=Nova+Technology&coid=43493&rep=&fax=262-502-1511&message=RE:%20Spec%20Question%20(11160nov):%20%20&mf=); Web: [www.novalocks.com](http://www.novalocks.com)

\*\* NOTE TO SPECIFIER \*\* Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

* + 1. Substitutions: Not permitted.
    2. Requests for substitutions will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* 1. HYDRAULIC DOCK LEVELERS

\*\* NOTE TO SPECIFIER \*\* NOVA's NHS Series Premium Hydraulic Dock Levelers incorporate the use of hydraulics to raise and lower both the platform and lip. A single push-button activates a hydraulic pump for operating both the leveler platform and lip cylinders. Delete if not required.

* + 1. Dock Levelers: NHS Hydraulic Series (25,000 to 40,000) by Nova Technology with the following characteristics:

\*\* NOTE TO SPECIFIER \*\* Insert required size and capacity.

* + - 1. Dock Leveler Width (Nominal): \_\_\_\_\_ inches.
      2. Dock Leveler Length (Nominal): \_\_\_\_\_inches.

\*\* NOTE TO SPECIFIER \*\* Delete capacity not required.

* + - 1. Capacity (MH-30.1): 25,000 pounds (11,340 Kg).
      2. Capacity (MH-30.1): 30,000 pounds (13,600 Kg).
      3. Capacity (MH-30.1): 35,000 pounds (15,875 Kg).
      4. Capacity (MH-30.1): 40,000 pounds (18,140 Kg).

\*\* NOTE TO SPECIFIER \*\* Delete sizes not required.

* + - 1. Lip Size: 16 inches (406 mm).
      2. Lip Size: 18 inches (457 mm).
      3. Lip Size: 20 inches (508 mm).

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Lip Type: Standard.
      2. Lip Type: Reduced crown.
      3. Lip Type: Extended chamfer.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Bumpers: 4 inch (102 mm) 1014.
      2. Bumpers: 4 inch (102 mm) 2011.
      3. Bumpers: 6 inch (152 mm) 1014.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Weather Seals: Rubber.
      2. Weather Seals: Brush.
      3. Frame Design: Easy Clean.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. Rubber weather seal.
         2. Brush weather seal.
         3. V-112 bumpers.
         4. B-610-14 bumpers.
         5. Three-wheel support.
         6. 18-inches (457 mm) lip.
         7. 20-inches (508 mm) lip.
         8. 5-inches (127 mm) barrier lip (35,000+ pound units only).
         9. 24-inches (610 mm) riser kit (24-inches (610 mm) pit depth is standard on all 10-feet (3048 mm) long levelers).
         10. Wash down.
         11. 2-inches (51 mm) foam insulation.
         12. Auto-return to dock.
         13. E-stop/independent lip.
         14. NEMA 4 (Push-button box).
         15. Spray metalized.
         16. Control box stanchion.
         17. Cut down leveler length and width.
         18. Stainless steel pins and lip rods.
         19. Steel Pan: 4-sided.
         20. Quick Pit: 3-sided
      2. Structural: The platform is constructed of 1/4 inch thick four-way high tensile 50,000 minimum yield A572 safety tread plate. Platform is reinforced and supported by full length 6 inches (152 mm) high formed C channels welded to deck and front and rear header for firm structural support. Front and rear header plates are 1/2 inch thick by 7-inches (13 mm by 178 mm) high hot rolled steel. NOVA NHS series lips are four-way safety tread plate, the 25,000 pounds (11,339 Kg) Comparative Industry Rating (CIR) capacity is 1/2 inch (13 mm) thick, and the 30,000, 35,000 and 40,000 pounds CIR are 5/8 inch (16 mm) thick. The standard lip length is 16 inches (406 mm) on all capacities. Hinge tubes are 1-3/4 inches (44 mm) OD by 5/16 inch (8 mm) wall, 1-7/8 inches (48 mm) OD by 3/8 inch (9.5 mm) wall or 2-1/8 inches (54 mm) OD by 1/2 inch (13 mm) wall depending on CIR. All lip hinge pins are 1 inch (25 mm) diameter M1044 steel. Steel header gussets are standard on all models 35,000 pounds CIR and above. All units have grease fittings as standard. All platforms are designed to compensate for up to 4 inches (102 mm) of canted trailer bed.
      3. Operation: Push-button depressed and held activating the hydraulic system that lifts the deck from a stored position. When the deck reaches the fully elevated position, the lip cylinder is activated extending the lip assembly. Release push-button when the lip is fully extended and the deck descends to the trailer bed. Lip will rest on the trailer bed and the deck will float with the trailer (12 inches (305 mm) above/below dock operating range). If a trailer departs prior to storing the leveler the velocity fuse will limit the movement of the deck within 1 inch (25 mm) to 3 inches (76 mm). After loading/unloading is complete, the attendant depresses the push-button lifting the leveler from the trailer bed. The push-button is held until the lip falls pendant and then released allowing the leveler to rest in the lip keepers.
      4. Electrical: The hydraulic power unit motor is a 1.25 HP TENV at 120V or 208V single-phase or 208V, 230V, 460V, or 575V three-phase. The electrical control panel is NEMA 12 enclosure. All electrical components, connections and wiring are UL listed or recognized.
      5. Hydraulics: The platform is raised by a main hydraulic cylinder; all hydraulic hoses are routed under the leveler platform, away from debris. The ramp cylinder is a hard chrome-plated double acting design with a 3-inch (76 mm) bore and is equipped with a velocity safety stop to limit free fall of a loaded platform to 3 inches (76 mm). Motor pump is mounted up for easy access and to clear debris in pit and includes a translucent reservoir for monitoring fluid level.
      6. Safety Features: Heavy-duty regenerative hydraulic system powered by a 1.25 HP motor with a NEMA 4X control box. Equipped with velocity fuse stopping deck travel within 1 inch (25 mm) to 3 inches (76 mm). Lip is yieldable to accidental impact; integral maintenance strut, night locks, and safety marked full range toe guards.
      7. Recommended Safety Equipment: NOVA vehicle restraint systems help prevent unexpected trailer departure from the loading dock and minimize trailer creep during the loading/unloading process.
      8. Warranty: In addition to the Standard Product Warranty provided with all NOVA Products, NOVA Technology guarantees materials, components and workmanship to be free of defects for the following extended periods:
         1. Structural Warranty (for levelers with rated capacity of <= 40,000 pounds CIR)for a period of five years from the date of shipment, product will carry a prorated structural warranty. This warranty specifically applies to; the deck section, lip section, frame, rear hinge assembly and front hinge assembly only.
         2. Hydraulic Warranty (for levelers with rated capacity of <= 40,000 pounds CIR)for a period of five years from date of shipment, product will carry a prorated warranty. This warranty specifically applies to; the hydraulic pump and motor, all hydraulic cylinders, hydraulic pressure lines and fittings only.

\*\* NOTE TO SPECIFIER \*\* NOVA's NHS Series Premium Hydraulic Dock Levelers incorporate the use of hydraulics to raise and lower both the platform and lip. A single push-button activates a hydraulic pump for operating both the leveler platform and lip cylinders. Delete if not required.

* + 1. Dock Levelers: NHS Hydraulic Series (45,000 to 100,000) by Nova Technology with the following characteristics:

\*\* NOTE TO SPECIFIER \*\* Insert required size and capacity.

* + - 1. Dock Leveler Width (Nominal): \_\_\_\_\_ inches.
      2. Dock Leveler Length (Nominal): \_\_\_\_\_ inches.

\*\* NOTE TO SPECIFIER \*\* Delete capacity not required.

* + - 1. Capacity (MH-30.1): 45,000 pounds (20,411 Kg).
      2. Capacity (MH-30.1): 55,000 pounds (24,950 Kg).
      3. Capacity (MH-30.1): 75,000 pounds (34,000 Kg).
      4. Capacity (MH-30.1): 100,000 pounds (45,360 Kg).

\*\* NOTE TO SPECIFIER \*\* Delete sizes not required.

* + - 1. Lip Size: 16 inches (406 mm).
      2. Lip Size: 18 inches (457 mm).
      3. Lip Size: 20 inches (508 mm).

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Lip Type: Standard.
      2. Lip Type: Reduced crown.
      3. Lip Type: Extended chamfer.

\*\* NOTE TO SPECIFIER \*\* 45,000 and 55,000 pound CIR units. Delete types not required.

* + - 1. Bumpers: Two 4 inches (102 mm) 1014.

\*\* NOTE TO SPECIFIER \*\* 75,000 and 100,000 pound CIR units. Delete types not required.

* + - 1. Bumpers: Two 6 inches (152 mm) 1014.
      2. Frame Design: Easy Clean.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. Rubber weather seal.
         2. Brush weather seal.
         3. 2-inches (51 mm) foam insulation.
         4. Three-wheel support.
         5. V-112 bumpers.
         6. B-610-14 bumpers (standard on 75,000 and 100,000 pound units).
         7. 18-inches lip (standard on 75,000 and 100,000 pound units).
         8. 20-inches (508 mm) lip.
         9. 5-inches (127 mm) barrier lip.
         10. 24-inches (610 mm) riser kit (24-inches (610 mm) pit depth is standard on all 10-feet (3048 mm) long levelers and 75,000 and 100,000 pound units).
         11. Wash down.
         12. Auto-return to dock.
         13. E-stop/independent lip.
         14. NEMA 4 (push-button box).
         15. Spray metalized.
         16. Control box stanchion.
         17. Cut down leveler length or width.
         18. Stainless steel pins and lip rods.
         19. Steel pan: 4-sided.
         20. Quick pit: 3-sided.
      2. Structural: The platform is constructed of 1/4 inch (6 mm) thick four-way high tensile 50,000 minimum yield A572 safety tread plate for 45,000, 55,000 and 75,000 pound Comparative Industry Rating (CIR) capacity units. The 100,000 pound CIR unit is 3/8 inch (9.5 mm) thick safety tread plate of same specification. Platforms are reinforced and supported by full length 6 inches (152 mm) high structural channels for 45,000 pound CIR, 6 inches (152 mm) structural channel and I-beam for 55,000 pound CIR and 8 inches (203 mm) structural channel and I-beam for 75,000 and 100,000 pound CIR unitswelded to the deck and front and rear header for firm structural support. Front and rear header plates are 1/2 inch thick by 7 inches (13 mm by 178 mm) high hot rolled steel for the 45,000 pound and 55,000 pound CIR units and 8 inches (203 mm) high for the 75,000 pound and 100,000 pound CIR units. NHS series lips are four-way safety tread plate. The 45,000 pound and 55,000 pound CIR are 5/8 inch (16 mm) thick, the 75,000 CIR unit is 3/4 inch (19 mm) thick and the 100,000 pound CIR is 1 inch (25 mm) thick. The standard lip length is 16 inches (406 mm) on the 45,000 pound and 55,000 pound CIR capacities and 18 inches (457 mm) on the 75,000 pound and 100,000 pound CIR capacities. Hinge tubes are 2-1/8 inches OD by 1/2 inch (54 mm by 13 mm) wall, 2-5/8 inches OD by 3/4 inch (67 mm by 19 mm) wall or 3-1/8 inches OD by 1 inch (79 mm by 25 mm) wall depending on CIR. All lip hinge pins are 1 inch (25 mm) diameter M1044 steel. Steel header gussets are standard on all NHS Series models. All units have grease fittings as standard. All platforms are designed to compensate for up to 4 inches (102 mm) of canted trailer bed.
      3. Operation: Push-button depressed and held activating the hydraulic system that lifts the deck from a stored position. When the deck reaches the fully elevated position, the lip cylinder is activated extending the lip assembly. Releasing push-button when the lip is fully extended and the deck descends to the trailer bed. Lip will rest on the trailer bed and the deck will float with the trailer 12 inches (305 mm) above/below dock operating range. If a trailer departs prior to storing the leveler the velocity fuse will limit the movement of the deck within 1 inch (25 mm) to 3 inches (76 mm). After loading/unloading is complete, the attendant depresses the push-button lifting the leveler from the trailer bed. The push-button is held until the lip falls pendant and then released allowing the leveler to rest in the lip keepers.
      4. Electrical: The hydraulic power unit motor is a 1.25 HP TENV at 120V or 208V single-phase or 208V, 230V, 460V, or 575V three-phase. The electrical control panel is NEMA 12 enclosure. All electrical components, connections and wiring are UL listed or recognized.
      5. Hydraulics: The platform is raised by a main hydraulic cylinder; all hydraulic hoses are routed under the leveler platform, away from debris. The ramp cylinder is a hard chrome-plated double acting design with a 3-inch (76 mm) bore for 45,000 pound and 55,000 pound CIR units, a 4-inch (102 mm) bore for 75,000 CIR units, and two 4-inch (102 mm) bore cylinders for the 100,000 CIR units. The main cylinder is equipped with a velocity safety stop to limit free fall of a loaded platform to 3 inches (76 mm). Lip operation is controlled by a hard chrome plated cylinder having a 2-inch (51 mm) bore and is fully yieldable. The motor pump is mounted up for easy access and to clear debris in pit and includes a translucent reservoir for monitoring fluid level.
      6. Safety Features: Heavy-duty regenerative hydraulic system powered by a 1.25 HP motor with a NEMA 4X control box. Equipped with velocity fuse stopping deck travel within 1 inch (25 mm) to 3 inches (76 mm). Lip is yieldable to accidental impact; integral maintenance strut, night locks, and safety marked full range toe guards.
      7. Recommended Safety Equipment: NOVA vehicle restraint systems help prevent unexpected trailer departure from the loading dock and minimize trailer creep during the loading/unloading process.
      8. Warranty: In addition to the Standard Product Warranty provided with all NOVA Products, NOVA Technology guarantees materials, components and workmanship to be free of defects for the following extended periods:
         1. Structural Warranty (for levelers with rated capacity of >= 45,000 pounds CIRfor a period of five years from the date of shipment, this warranty specifically applies to; the deck section, lip section, frame, rear hinge assembly and front hinge assembly only.
         2. Hydraulic Warranty (for levelers with rated capacity of >= 45,000 pounds CIR)for a period of five years from the date of shipment, this warranty specifically applies to; the hydraulic pump and motor, all hydraulic cylinders, hydraulic pressure lines and fittings only.

\*\* NOTE TO SPECIFIER \*\* NOVA's NAS Series Premium Air Powered Dock Levelers incorporate the use of a low pressure, high volume air system to raise and lower the platform. A single push-button activates the air power system to raise the leveler and extend the lip. Delete if not required.

* 1. AIR POWERED DOCK LEVELERS

\*\* NOTE TO SPECIFIER \*\* NOVA's NAS Series Premium Air Powered Dock Leveler is designed to provide excellent reliability and structural durability at an affordable price. Easy-push button activation allowing smooth, consistent operation with a reliable air power system makes this full featured leveler a true value. Delete if not required.

* + 1. Dock Levelers: NAS Air Powered Series by Nova Technology with the following characteristics.

\*\* NOTE TO SPECIFIER \*\* Insert required size and capacity.

* + - 1. Dock Leveler Width (Nominal): \_\_\_\_\_ inches.
      2. Dock Leveler Length (Nominal): \_\_\_\_\_ inches.

\*\* NOTE TO SPECIFIER: Delete capacity not required.

* + - 1. Capacity (MH-30.1): 25,000 pounds (11,340 Kg).
      2. Capacity (MH-30.1): 30,000 pounds (13,600 Kg).
      3. Capacity (MH-30.1): 35,000 pounds (15,875 Kg).
      4. Capacity (MH-30.1): 40,000 pounds (18,140 Kg).
      5. Capacity (MH-30.1): 45,000 pounds (20,400 Kg).
      6. Capacity (MH-30.1): 55,000 pounds (25,000 Kg).

\*\* NOTE TO SPECIFIER\*\* Delete sizes not required.

* + - 1. Lip Size: 16 inches (406 mm).
      2. Lip Size: 18 inches (457 mm).
      3. Lip Size: 20 inches (508 mm).
      4. Bumpers: \_\_\_\_\_\_\_\_\_\_.

\*\* NOTE TO SPECIFIER \*\* Fill in blank below with bumper size. Delete bumpers not required.

* + - 1. Bumpers: 4 inch (102 mm) 1213 molded (standard).
      2. Bumpers: 4 inch (102 mm) 1014 laminated.
      3. Bumpers: 4 inch (102 mm) 2011 laminated (vertical).
      4. Bumpers: 4 inch (102 mm) 2411 laminated (vertical).
      5. Bumpers: 6 inch (152 mm).
      6. Frame Design: Easy Clean.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. Rubber weather seal.
         2. Brush weather seal.
         3. V-112 bumpers.
         4. B-610-14 bumpers.
         5. Three-wheel support (25,000 to 40,000 pound units).
         6. 5-inches (127 mm) barrier lip; 8 feet (2438 mm) or longer only 35,000+ pound units.
         7. 24-inches (610 mm) riser kit (24-inches (610 mm) pit depth is standard on all 10-feet (3048 mm) long levelers).
         8. Wash down.
         9. 2-inches (51 mm) foam insulation.
         10. Spray metalized.
         11. Control box stanchion.
         12. Cut down leveler length and width.
         13. Stainless steel pins and lip rods.
         14. Steel pan: 4-sided.
         15. Quick pit: 3-sided.
      2. Structural: The platform is constructed of 1/4 inch (6 mm) thick four-way high tensile 50,000 minimum yield A572 safety tread plate. Platforms are reinforced and supported by full length 6-inches (152 mm) high-formed C channels for 25,000 pound Comparative Industry Rating (CIR) capacity to 40,000 pound CIR units, full length 6 inches (152 mm) height structural channel for 45,000 pound CIR units and full length 6 inches (152 mm) high structural channel and I-beams for 55,000 pound CIR units, all welded to the deck for firm structural support. Front and rear header plates are 1/2-inch (13 mm) thick by 7-inches (178 mm) high hot-rolled steel. NOVA's NAS series lips are four-way safety tread plate, the 25,000 pound CIR is 1/2 inch (13 mm) thick and the 30,000, 35,000, 40,000, 45,000 and 55,000 pound CIR are 5/8 inch (16 mm) thick. The standard lip length is 16 inches (406 mm) on all capacities. Hinge tubes are 1-3/4 inches OD by 5/16 inch (44 mm by 8 mm) wall, 1-7/8 inch OD by 3/8 inch (48 mm by 9.5 mm) wall or 2-1/8 inches OD by 1/2 inch (54 mm by 13 mm) wall depending on CIR. All lip hinge pins are 1 inch (25 mm) diameter M1044 steel. Steel header gussets are standard on all models 35,000 pounds CIR and above. All units have grease fittings as standard. All platforms are designed to compensate for up to 4 inches of canted trailer bed.
      3. Operation: Push-button depressed and held allowing the electric blower to fill the air bladder and provide upward lift. When the fully yieldable lip extends at the top of the cycle the button is released allowing the extended lip and platform to lower onto the trailer bed. Upon trailer departure the lip can be retracted and the unit restored to a safe cross-traffic position. In-use and stored positions achieved without manual operation. Operable range 12 inches (305 mm) above/below dock level. The platform designed to service out of level trailers with up to 4 inches (102 mm) of flex and remains flush with dock floor. Platform allowed to automatically float up and down with trailer movement.
      4. Safety Features: Leveler includes dual pivoting cross-traffic legs for multi position safety at dock level and below, full range telescoping toe guards, built-in lockout/tagout maintenance inspection strut and lip keepers.
      5. Recommended Safety Equipment: NOVA vehicle restraint systems help prevent unexpected trailer departure from the loading dock and minimize trailer creep during the loading/unloading process.
      6. Electrical: Electric blower motor is 115V single-phase, 1400 watt drawing 11 amps at startup. Electrical control panel is non-metallic NEMA 4 enclosure. All components, connections and wiring are UL listed or recognized.
      7. Warranty: In addition to the Standard Product Warranty provided with all NOVA Products, NOVA Technology guarantees materials, components and workmanship to be free of defects for the following extended periods:
         1. Structural Warrantyfor a period of five years from the date of shipment, product will carry a prorated structural warranty. This warranty specifically applies to; the deck section, lip section, frame, rear hinge assembly and front hinge assembly only. This warranty covers structural repairs to or replacement of dock leveler in NOVA Technology sole discretion and expense including reasonable labor, materials, freight and travel. If NOVA Technology determines replacement is necessary, it will provide the original purchaser with a credit toward the purchase of the new replacement NOVA Technology product in the amount equal to the original purchase price of the warranted product F.O.B. point of manufacture, discounted on a ten year straight line basis by the number of years of use prior to replacement.
         2. Pneumatic Warrantyfor a period of four years from the expiration of the Standard Product Warranty, NOVA Technology will provide replacement component parts from defective lifting system. This warranty specifically covers material and freight only and applies to; the air bladder, seals, hoses and motor assembly.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* 1. MECHANICAL DOCK LEVELERS

\*\* NOTE TO SPECIFIER \*\* NOVA's Premium Mechanical Dock Levelers incorporate the use of mechanical components to raise and lower both the platform and lip without providing power to the dock leveler. The levelers are available in a wide variety of sizes ad capacities with a standard operating range of 12 inches (305 mm) above and below dock. Delete if not required.

* + 1. Dock Levelers: NMS Mechanical Series by Nova Technology with the following characteristics:

\*\* NOTE TO SPECIFIER \*\* Insert required size and capacity.

* + - 1. Dock Leveler Width (Nominal): \_\_\_\_\_ inches.
      2. Dock Leveler Length (Nominal): \_\_\_\_\_ inches.

\*\* NOTE TO SPECIFIER \*\* Delete capacity not required.

* + - 1. Capacity (MH-30.1): 25,000 pounds (11,340 Kg).
      2. Capacity (MH-30.1): 30,000 pounds (13,600 Kg).
      3. Capacity (MH-30.1): 35,000 pounds (15,875 Kg).
      4. Capacity (MH-30.1): 40,000 pounds (18,140 Kg).
      5. Capacity (MH-30.1): 45,000 pounds (20,400 Kg).
      6. Capacity (MH-30.1): 55,000 pounds (25,000 Kg).

\*\* NOTE TO SPECIFIER \*\* Delete sizes not required.

* + - 1. Lip Size: 16 inches (406 mm).
      2. Lip Size: 18 inches (457 mm).
      3. Lip Size: 20 inches (508 mm).

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Lip Type: Standard.
      2. Lip Type: Reduced crown.
      3. Lip Type: Extended chamfer.

\*\* NOTE TO SPECIFIER \*\* Fill in blank below with bumper size. Delete bumpers not required.

* + - 1. Bumpers:\_\_\_\_\_\_\_\_\_\_.
      2. Bumpers: 4 inch (102 mm) 1014.
      3. Bumpers: 4 inch (102 mm) 2011.
      4. Bumpers: 6 inch (152 mm) 1014.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Toe Guards: Working range.
      2. Toe Guards: Full range.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. Rubber weather seal.
         2. Brush weather seal.
         3. V-112 bumpers.
         4. B-610-14 bumpers.
         5. Three-wheel support (25,000 to 40,000 pound units).
         6. 24-inches (610 mm) riser kit (24-inches (610 mm) pit depth is standard on all 10-feet (3048 mm) long levelers).
         7. Frame Design: Easy Clean.
         8. Wash down.
         9. 2-inches (51 mm) foam insulation.
         10. Spray metalized.
         11. Cut down leveler length and width.
         12. Stainless steel pins and lip rods.
         13. Steel pan: 4-sided.
         14. Quick pit: 3-sided.
      2. Structural: The platform is constructed of 1/4 inch (6 mm) thick four-way high tensile 50,000 minimum yield A572 safety tread plate. Platforms are reinforced and supported by full length 6-inches (152 mm) high-formed C channels for 25,000 pound Comparative Industry Rating (CIR) capacity to 40,000 pound CIR units, full length 6 inches (152 mm) high structural channel for 45,000 pound CIR units and full length 6 inches (152 mm) high structural channel and I-beams for 55,000 pound CIR units, all welded to the deck for firm structural support. Front and rear header plates are 1/2-inch (13 mm) thick by 7-inches (178 mm) high hot-rolled steel. NOVA's NMS series lips are four-way safety tread plate, the 25,000 pound CIR is 1/2 inch (13 mm) thick and the 30,000, 35,000, 40,000, 45,000 and 55,000 pound CIR are 5/8 inch (16 mm) thick. The standard lip length is 16 inches (406 mm) on all capacities. Hinge tubes are 1-3/4 inches OD by 5/16 inch (44 mm by 8 mm) wall, 1-7/8 inch OD by 3/8 inch (48 mm by 9.5 mm) wall or 2-1/8 inches OD by 1/2 inch (54 mm by 13 mm) wall depending on CIR. All lip hinge pins are 1 inch (25 mm) diameter M1044 steel. Steel header gussets are standard on all models 35,000 pounds CIR and above. All units have grease fittings as standard. All platforms are designed to compensate for up to 4 inches (102 mm) of canted trailer bed.
      3. Operation: The dock attendant pulls the release chain which releases the holdown and allows the leveler to rise and the lip extend. The attendant then walks onto the leveler to lower the leveler and lip to the bed of the truck or trailer. Contact between the leveler lip and the truck or trailer bed is maintained throughout the loading/unloading process by the holdown. If below dock operation is required, the front pull chain is pulled which retracts the safety legs and the leveler will lower to the desired position when walking down the leveler. When loading or unloading is complete, the release chain is pulled to raise the leveler and lip off the bed of the truck or trailer. Once the lip has fallen pendant, the attendant walks onto the leveler to lower it to the stored position.
      4. Safety Features: Equipped with multi-position structural safety legs. Lip is yieldable to accidental impact. Also included are an integral maintenance strut, night locks, and safety marked working range toe guards.
      5. Recommended Safety Equipment: NOVA vehicle restraint systems help prevent unexpected trailer departure from the loading dock and minimize trailer creep during the loading/unloading process.
      6. Equipped with an automatic-release holdown.
      7. Warranty: In addition to the Standard Product Warranty provided with all NOVA Products, NOVA Technology guarantees materials, components and workmanship to be free of defects for the following extended period.
         1. Structural Warrantyfor a period of five years from the date of shipment, product will carry a prorated structural warranty. This warranty specifically applies to; the deck section, lip section, frame, rear hinge assembly and front hinge assembly only. This warranty covers structural repairs to or replacement of dock leveler in NOVA Technology sole discretion and expense including reasonable labor, materials, freight and travel. If NOVA Technology determines replacement is necessary, it will provide the original purchaser with a credit toward the purchase of the new replacement NOVA Technology product in the amount equal to the original purchase price of the warranted product F.O.B. point of manufacture, discounted on a five year straight line basis by the number of years of use prior to replacement.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* 1. HYDRAULIC EDGE-OF-DOCK LEVELERS

\*\* NOTE TO SPECIFIER \*\* NOVA's Hydraulic Edge-of-Dock Levelers mount to the exterior dock face providing a simple and economical alternative to pit-style levelers. Delete capacity not required.

* + 1. Dock Levelers: Edge-of-Dock Hydraulic Leveler by Nova Technology with the following characteristics:
       1. Type: Hydraulic.

\*\* NOTE TO SPECIFIER \*\* Delete capacity not required.

* + - 1. Capacity: 20,000 pounds (9071 Kg).
      2. Capacity: 25,000 pounds (11340 Kg).
      3. Capacity: 30,000 pounds (13608 Kg).
      4. Capacity: 35,000 pounds (15875 Kg).

\*\* NOTE TO SPECIFIER \*\* Delete widths not required.

* + - 1. Width: 66 inches (1676 mm).
      2. Width: 72 inches (1829 mm).
      3. Width: 78 inches (1981 mm).
      4. Width: 84 inches (2134 mm).
      5. Operation: A single push-button is pressed and held until the leveler is fully extended. Releasing the button lowers leveler to the trailer bed. After loading/unloading, the push-button is pressed and held until the lip clears the trailer bed, once released, the leveler returns to the stored position. If the trailer departs before the leveler is stored, the leveler automatically returns to the stored position.
      6. Structural: Platform and lip are constructed of four-way high tensile 55,000 psi (379,000 kPa) minimum yield A572 safety tread plate. The tread plate on the 20,000 and 25,000 pounds Comparative Industry Rating (CIR) capacity units is 3/8 inch (9.5 mm) thick, the 30,000 pounds CIR unit is 7/16 inch (11 mm) thick and the 35,000 pounds CIR unit is 1/2 inch (13 mm) thick. The standard lip length is 15 inches (381 mm) on all hydraulic edge-of-dock levelers. Hinge tubes are 1-1/4 inches (32 mm) OD for 20,000, 25,000 and 30,000 pound CIR and 1-1/2 inches (38 mm) OD for 35,000 pounds CIR units. Lip hinge pins are 11/16 inches (17 mm) solid shaft cold finish M1044 steel for 20,000, 25,000 and 30,000 pound units and 1 inch (25 mm) for 35,000 pound CIR units. Each edge-of-dock leveler comes standard with 1/2 inch (13 mm) full width load distribution bar, meeting the hinge and lip sections. Deck is supported in the stored position by a minimum of two steel gussets attached to the base plate.
      7. Materials: High strength safety tread plate, 55,000 psi minimum.
      8. Projections: Total projection of bumper blocks and bumpers is 18 inches (457 mm).
      9. Hydraulics: The platform is raised by a main hydraulic cylinder; all hydraulic hoses are safely routed under the platform. Lip operation is controlled by a second lip cylinder. The motor pump is mounted under the leveler on brackets for easy access and includes a translucent reservoir for monitoring fluid level.
      10. Electrical: The hydraulic power unit motor is a 1.25 HP TENV at 115V or 230V single-phase or 208V, 230V or 460V three-phase. All electrical components, connections and wiring are UL listed or recognized.
      11. Bumpers: 4 inches (102 mm) by 12 inches (305 mm) by 18 inches (457 mm) projection molded reinforced rubber mounted to steel box frames.
      12. Finish: Unit is completely cleaned, deburred and painted gray.
      13. Service Range: Capable of servicing trucks 5 inches (127 mm) above and 5 inches (127 mm) below the dock.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. 17 inches (432 mm) lip for refrigerated trailers with rear step.
         2. Low-profile design (flat center plate).
         3. Tapered lip (tapered at sides).
         4. Recessed installation packages for mini-pits.
         5. Torsion spring.
         6. Dock-edge anchoring channel 10 inches length (highly recommended for new construction).
         7. Three-phase powerpack.
         8. 3-inches (76 mm) run off guards.
      2. Warranty: 1 year parts and labor warranty on structural and hydraulics components.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* 1. MECHANICAL EDGE-OF-DOCK LEVELERS

\*\* NOTE TO SPECIFIER \*\* NOVA's Mechanical Edge-of-Dock Levelers mount to the exterior dock face providing a simple and economical alternative to pit-style levelers. Delete capacity not required.

* + 1. Dock Levelers: Edge-of-Dock Mechanical Leveler by Nova Technology with the following characteristics:

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Type: Barrel spring.
      2. Type: Torsion spring.

\*\* NOTE TO SPECIFIER \*\* Delete capacities not required.

* + - 1. Capacity: 20,000 pounds (9071 Kg).
      2. Capacity: 25,000 pounds (11340 Kg).
      3. Capacity: 30,000 pounds (13608 Kg).
      4. Capacity: 35,000 pounds (15875 Kg).

\*\* NOTE TO SPECIFIER \*\* Delete widths not required.

* + - 1. Width: 66 inches (1676 mm).
      2. Width: 72 inches (1829 mm).
      3. Width: 78 inches (1981 mm).
      4. Operation: The dock attendant pulls the operating handle to raise the center plate back past vertical, engaging the lip extend link arm. Pushing the operating handle forward then extends the lip plate over and onto the trailer bed, after which the handle is returned to the stored position. Once loading/unloading is complete, the operator pulls the operating handle until the lip clears the bed of the trailer and returns the handle to the stored position which also stores the leveler. If the trailer departs before the leveler has been stored, the leveler automatically returns to the stored position.
      5. Structural: Platform and lip are constructed of four-way high tensile 55,000 psi (379,000 kPa) minimum yield A572 safety tread plate. The tread plate on the 20,000 and 25,000 pounds Comparative Industry Rating (CIR) capacity units is 3/8 inch (9.5 mm) thick, the 30,000 pounds CIR unit is 7/16 inch (11 mm) thick and the 35,000 pounds CIR unit is 1/2 inch (13 mm) thick. The standard lip length is 15 inches (381 mm) on all edge-of-dock levelers. Lip hinge pins are 11/16 inches (17 mm) solid shaft cold finish M1044 steel for 20,000, 25,000 and 30,000 pound units and 1 inch (25 mm) for 35,000 pound CIR units. Each edge-of-dock leveler comes standard with 1/2 inch (13 mm) full width load distribution bar, meeting the hinge and lip sections. Deck is supported in the stored position by a minimum of two steel gussets attached to the base plate.
      6. Materials: High strength steel safety tread plate, 55,000 psi minimum.
      7. Projections: Total projection of bumper blocks and bumpers is 15 inches (381 mm).
      8. Bumpers: Rubber bumpers attached to bumper blocks of high-strength steel plate.
      9. Lift assist: Steel lever and lifting mechanism in conjunction with roller bearings and dual extension springs.
      10. Finish: Leveler to be painted machinery gray with orange bumper blocks.
      11. Service Range: Capable of servicing trucks 5 inches (127 mm) above and 5 inches (127 mm) below the dock.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. Low-profile design (flat center plate).
         2. 17 inch (432 mm) lip for refrigerated trailers with rear step.
         3. Tapered lip (tapered at sides).
         4. Recessed installation packages for mini-pits.
         5. Torsion spring.
         6. Dock-edge anchoring channel 10 inches length (highly recommended for new construction).
         7. 3-inches (76 mm) run off guards.
      2. Warranty: NOVA Technology warrants that its products will be free from defects in design, materials and workmanship for a period of one year from the date of shipment.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* 1. VEHICLE RESTRAINTS

\*\* NOTE TO SPECIFIER \*\* The NOVA Truck Lock vehicle restraint keeps dock operations safe and secure during loading and unloading. Trucks and trailers are held firmly in place by a high-visibility barrier-style ram bar which can withstand a pullout force of over 30,000 pounds to prevent accidental separation from the loading dock during the cargo handling process. Delete if not required.

* + 1. Vehicle Restraints: Truck Lock as manufactured by Nova Technology with the following characteristics:

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Stored Height: 10 inches (350 Series).
      2. Stored Height: 7-1/2 inches (Low-Profile Series).

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Operation: Pneumatic.
      2. Operation: Mechanical.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Light Communication: Automatic.
      2. Light Communication: Manual.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Installation Style: Bolt-In (Flange) style.
      2. Installation Style: Cast-In style
      3. Communication System:
         1. Outside: Constant flashing red or green LED lights with signs.
         2. Inside: Constant flashing red or green LED lights with signs.
         3. Audible Alarm: In addition to the flashing red light, inside alarm warns when RIG has not been property engaged.
         4. Audible Alarm Override: a push-button allows personnel to override the audible alarm. When the audible alarm is in override, the inside red and green lights continue to flash simultaneously.
         5. LED lights: Standard LED lights.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. Compressor.
         2. Wall bracket.
         3. Truck sensor.
         4. Interconnect with leveler or door.
         5. Interlock with leveler or door.
         6. Open dock stanchion.
         7. Metal building bracket.
         8. Asphalt kit for asphalt or non-concrete approach applications (Cast-In style housing only).
         9. Swivel brackets for unique cable configurations.
      2. Structural: The housing is constructed from ASTM A500 Grade B rectangular steel tubing, 6 by 3 by 1/4 inches (152 mm by 76 mm by 6 mm) thick, capped with ram sheath cast of 55,000 psi (379,000 kPa) minimum yield strength steel and fully welded to the housing tube. Half-inch thick truck side gussets composed of 36,000 psi (248,000 kPa) minimum yield steel is welded to and reinforces the housing tube and ram sheath. The ram bar vertical barrier is made from 4-5/16 inches wide by 1 inch (110 mm by 25 mm) thick ASTM A-514 Grade B plate with a minimum yield strength of 100,000 psi (689,500 kPa).

\*\* NOTE TO SPECIFIER \*\* Delete installation not required.

* + - * 1. Cast-In-Place Installation: The housing is embedded into the approach 21 inches with 4,000 psi minimum concrete.
        2. Bolt-In (Flange) Installation: The housing is embedded into the approach with seven 5/8 inch by 5 inches (16 mm by 127 mm) long, heavy duty hex head anchor screws. The housing and gussets are welded to a 25 inches long by 16 inches (635 mm by 406 mm) wide, tapering to 9-1/4 inches wide by 3/8 inch (235 mm by 9.5 mm) thick base plate of 36,000 psi (248,000 kPa) minimum yield strength steel.
      1. Electrical: The control box comes with a 6-foot power cord factory installed. The drop cord can be plugged into any 120VAC 60Hz outlet and only draws 0.5 amps. All components are UL listed or recognized for industrial use. All LED lights (interior and exterior) operate on a 12V circuit.
      2. Operation: After the truck/trailer backs into position against the dock bumpers, switch Truck Lock to the RESTRAIN position activating the restraint. Outside light turns red and inside light turns green. When loading/unloading is completed, switch Truck Lock to the RELEASE position deactivating the restraint and lowering the Ram Bar. Outside light turns green and inside light turns red.
      3. Activation System: Restraint activated by turning a switch or moving a slide bar on the control console to the RESTRAIN position. Ram bar raised by a high strength nylon coated stainless steel aircraft grade cable and guided over heavy duty pulleys with shielded bearings. Switch controls a pneumatic cylinder that actuates the cable and is located inside the building within a powder coated steel enclosure. Mechanical version uses a slide bar located inside the building within a powder coated steel enclosure to activate the cable. The powered system requires air be supplied from plant system or by small compressor. Air must be minimum of 80 psi and maximum of 130 psi. Air must be dry and clean. Air usage is approximately 0.015 cubic feet per operation. Duration of normal power stroke is about two seconds.
      4. Warranty: In addition to the Standard Product Warranty provided with all NOVA Products, NOVA Technology guarantees materials, components and workmanship to be free of defects for the following extended periods:
         1. Extended Two-Year General Warrantyfor a period of two years from date of shipment, this warranty specifically applies to; the ram housing assembly, console assembly, pulleys and brackets and control box only.
         2. Extended Ten-Year Structural Warrantyfor a period of ten years from date of shipment, product will carry a prorated structural warranty. This warranty specifically applies to; the ram bar, ram housing, housing cover and console cover only.

\*\* NOTE TO SPECIFIER \*\* The NOVA Lock & Load Vehicle Restraint with Roller Slope Extension is designed to secure a trailer to a loading dock by engaging the trailer's Rear Impact Guard (RIG) with a large, rotating hook operated by a control panel mounted inside the building. The Roller Slope Extension is designed to decrease resistance of carriage travel while it is adjusting to the height of the RIG on the trailer thereby saving wear on the RIG, carriage and pavement. A spring-loaded, structural steel housing automatically positions the unit when contacted by a backing truck. Delete if not required.

* + 1. Vehicle Restraints: Lock & Load Vehicle Restraint with Roller Slope Extension as manufactured by Nova Technology with the following characteristics:
       1. Method of Operation: As the trailer backs into position, the RIG contacts the spring loaded structural steel housing which rides down in its track, allowing the RIG to move over the top of the housing. The dock attendant pushes the RESTRAIN button which activates the hook to secure the trailer to the dock that can withstand a pullout force in excess of 38,000 pounds (169 kN). The Lock & Load restraint maintains contact with the RIG and adjusts automatically with trailer float motion to ensure proper engagement at all times. After servicing is complete, the dock attendant pushes the RELEASE button. In the event a trailer's RIG is missing or damaged, the Lock & Load will communicate a fault condition. An audible alarm and flashing red light alerts the operator that the trailer has not been properly secured. The operator may then override the fault condition and secure the trailer by other means. The communication system automatically adjusts to reflect the current operational mode.
       2. Performance: To withstand not less than 38,000 pounds (169 kN) of pulling force. Comply with ANSI MH30.3.
       3. Carriage: Low profile 9 inch (228 mm) carriage for use with standard trailers with rear impact guard between 9 inches (228 mm) and 30 inches (762 mm).
       4. Mounting: Above ground level.
       5. Gear Motor: Includes a one way braking system which keeps the hook continuously engaged.
       6. Structural: The rotating hook barrier is machined from 1-1/4 inches (32 mm) thick A514 Grade B steel plate and driven with a 1-1/4 inches (32 mm) diameter shaft made from cold rolled 1018 steel. The carriage side plates are constructed from abrasion resistant 400F steel for maximum wear resistance from the rubbing of Rear Impact Guards (RIG) on trailers. The carriage axles are made from 1-1/4 inches (32 mm) diameter cold rolled 1045 steel and the carriage rollers machined from 2-5/16 inches (59 mm) diameter cold rolled 1045 steel. The roller track is formed out of ASTM A572 Grade 50 steel into a 6-3/8 by 3 inches (161 mm by 76 mm) channel with 7/8-inch (22 mm) flanges. The roller track is attached to the dock face with fifteen 5/8 by 4 inches (16 mm by 102 mm) long heavy duty sleeve anchors in conjunction with welding to pit steel.
       7. Electrical/Controls: Operator controls mounted in a control panel fully operational at all times. Hook mechanism, engineered electric motor and limit switches are enclosed in a structural steel housing. Electrical components and wiring UL listed or recognized. Power source of 110/115 volt single-phase with a 15 amp service circuit.
       8. Communication System:
          1. Outside: Constant flashing red or green LED lights with signs.
          2. Inside: Constant flashing red or green LED lights with signs.
          3. Audible Alarm: In addition to the flashing red light, inside alarm warns when RIG has not been properly engaged.
          4. Horn Override: Key switch allows personnel to override the audible alarm. When the audible alarm is in override, the inside red and green lights continue to flash simultaneously.
          5. LED lights: Standard LED lights.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. Cantilevered mounting bracket.
         2. Open dock stanchion for control box.
         3. Driveway plate for ground mounting.
         4. Green light interlock.
      2. Warranty: In addition to the Standard Product Warranty provided with all NOVA Products, NOVA Technology guarantees materials, components and workmanship to be free of defects for the following extended periods:
         1. Extended Two-Year General Warrantyfor a period of two years from date of shipment, this warranty specifically applies to; the roller track assembly, carriage assembly and control box only.
         2. Extended Five-Year Structural Warrantyfor a period of five years from date of shipment, product will carry a prorated structural warranty; this warranty specifically applies to; the roller track, carriage weldment, chain cover, straight hook and lower spring bar only.

\*\* NOTE TO SPECIFIER \*\* The NOVA Lock-Up Vehicle Restraint is designed to secure an intermodal container chassis or trailer to a loading dock by engaging the Rear Impact Guard (RIG) with a vertical barrier. Vertical barrier position ensures engagement with intermodal container and trailer RIG configurations with cover plates or obstructions. The Roller Slope Extension is designed to decrease resistance of carriage travel while it is adjusting to the height of the RIG on the trailer thereby saving wear on the RIG, carriage and pavement. A spring-loaded, structural steel housing automatically positions the unit when contacted by a backing truck. Delete if not required.

* + 1. Vehicle Restraints: Lock-Up Vehicle Restraint as manufactured by Nova Technology with the following characteristics:
       1. Method of Operation: As the trailer backs into position, the RIG contacts the spring loaded structural steel housing which rides down in its track, allowing the RIG to move over the top of the housing. The dock attendant pushes the RESTRAIN button which activates the vertical barrier to secure the trailer to the dock. The vertical barrier can withstand a pullout force in excess of 38,000 pounds (169 kN). The Lock-Up restraint maintains contact with the RIG and adjusts automatically with trailer float motion to ensure proper engagement at all times during loading/unloading. If there is a cover plate or obstruction above the rear impact guard, the vertical barrier adds an additional level of safety providing secure engagement. An activation system ensures RIG/barrier engagement when electrical power source is lost. After servicing is complete, the dock attendant pushes the RELEASE button. In the event a trailer's RIG is missing or damaged, the Lock-Up will communicate a fault condition. An audible alarm and flashing red light alerts the operator that the trailer has not been properly secured. The operator may then override the fault condition and secure the trailer by other means. The communication system automatically adjusts to reflect the current operational mode.
       2. Performance: To withstand not less than 38,000 pounds (169 kN) of pulling force. Comply with ANSI MH30.3.
       3. Carriage: Low profile 9 inch (228 mm) carriage for use with standard trailers with rear impact guard between 9 inches (228 mm) and 30 inches (762 mm).
       4. Mounting: Above ground level.
       5. Gear Motor: The gear motor operates on electrical current only when engaging or disengaging the vertical barrier with the RIG.
       6. Structural: The vertical barrier weldment is made from two (2) 2 3/4 by 3/4 inch thick ASTM A572 Grade 50 steel plates with 1 inch ASTM A36 steel spacers in between. The vertical barrier weldment is located within the carriage between the two (2) side plates. The carriage side plates are constructed from abrasion resistant 400F steel for maximum wear resistance from the rubbing of Rear Impact Guards (RIG) on trailers. The carriage axles are made from 1-1/4 inches (32 mm) diameter cold rolled 1045 steel and the carriage rollers machined from 2-5/16 inches (59 mm) diameter cold rolled 1045 steel. The roller track is formed out of ASTM A572 Grade 50 steel into a 6-3/8 by 3 inches (161 mm by 76 mm) channel with 7/8-inch (22 mm) flanges. The roller track is attached to the dock face with fifteen 5/8 by 4 inches (16 mm by 102 mm) long heavy duty sleeve anchors in conjunction with welding to pit steel.
       7. Electrical/ Controls: Operator controls mounted in a control panel fully operational at all times. Vertical barrier mechanism, engineered electric motor and limit switches are totally enclosed in abrasion resistant structural steel housing. Electrical components and wiring UL listed or recognized. Lock-Up restraint requires a power source of 110/115 volt, single-phase with a 15 amp service circuit.
       8. Communication System:
          1. Outside: Constant flashing red or green LED lights with signs.
          2. Inside: Constant flashing red or green LED lights with signs.
          3. Audible Alarm: In addition to the flashing red light, inside alarm warns when RIG has not been properly engaged.
          4. Horn Override: Key switch allows personnel to override the audible alarm. When the audible alarm is in override, the inside red and green lights continue to flash simultaneously.
          5. LED lights: Standard LED lights.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. Cantilevered mounting bracket.
         2. Open dock stanchion for control box.
         3. Driveway plate for ground mounting.
         4. Green light interlock.
      2. Warranty: In addition to the Standard Product Warranty provided with all NOVA Products, NOVA Technology guarantees materials, components and workmanship to be free of defects for the following extended periods:
         1. Extended Two-Year General Warrantyfor a period of two years from date of shipment, this warranty specifically applies to; the roller track assembly, carriage assembly, RIG sensor assembly and control box only.
         2. Extended Five-Year Structural Warrantyfor a period of five years from date of shipment, product will carry a prorated structural warranty; this warranty specifically applies to; the roller track, carriage weldment, motor cover, barrier assembly and lower spring bar only.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* 1. DOCK SEALS AND SHELTERS

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* + 1. Dock Seals: FP Series Dock Seal with Head Pad as manufactured by Nova Technology with the following characteristics:
       1. Operation: Dock seals can significantly improve the energy efficiency and environment control of buildings, reducing costs. They provide an effective barrier against the elements, keeping loading docks safe and efficient. Dock seals also provide a positive seal between internal and external environments. The FP Series Dock Seal features a foam-filled head pad and side pads that provide a tight, energy-efficient seal between the trailer and dock wall providing protection from inclement weather, dirt and insect infiltration. Designed for door openings up to 9 feet wide by 9 feet high (2743 mm by 2743 mm).
       2. Construction: Dock seals shall be constructed from high-density polyurethane foam and select grade pressure-treated, kiln-dried lumber. Cover material and wear pleats are top-grade fabrics providing superior performance and weather resistance.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Base Fabric: 22 ounce vinyl.
      2. Base Fabric: 40 ounce vinyl.
      3. Base Fabric: 16 ounce NOVALON.
      4. Base Fabric: 40 ounce NOVALON.
      5. Base Fabric: NOVA MAX-60.
      6. Base Fabric: NOVA MAX-1000.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Reinforcing Fabric (Multiple Layers): 22 ounce vinyl.
      2. Reinforcing Fabric (Multiple Layers): 40 ounce vinyl.
      3. Reinforcing Fabric (Multiple Layers): 16 ounce NOVALON.
      4. Reinforcing Fabric (Multiple Layers): 40 ounce NOVALON.
      5. Reinforcing Fabric (Multiple Layers): NOVA MAX-60.
      6. Reinforcing Fabric (Multiple Layers): NOVA MAX-1000.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Wear Pleat Spacing: WP4; 4 inches (102 mm).
      2. Wear Pleat Spacing: WP8; 8 inches (203 mm).
      3. Wear Pleat Spacing: WP16; 16 inches (406 mm).

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Wear Face: Side pad.
      2. Wear Face: Head pad.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Scuff Guard: 4 feet (1219 mm).
      2. Scuff Guard: Full height.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Bottom Door Flaps: 1 side.
      2. Bottom Door Flaps: 2 sides.
      3. Bottom Door Flaps: 3 sides.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Fabric Color: Black.
      2. Fabric Color: Selected from manufacturer's standard options.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. Wear pleats.
         2. Wear face.
         3. Scuff guards.
         4. Bottom door flaps (1 to 3 sides).
         5. Drop curtains.
         6. Pull rope system for drop curtains.
         7. 2-inch (51 mm) foam-filled drop curtains.
         8. Flame retardant foam and fabric.
         9. Top corner pleats only.
         10. 24-inch (610 mm) high yellow guide stripes.
         11. Blockouts.
         12. Galvanized metal backs.
         13. Chain weighted drop curtain.
         14. Beveled head pads.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* + 1. Dock Seals: FPH Series Dock Seal with Hood-Style Head Curtain as manufactured by Nova Technology with the following characteristics:
       1. Operation: Dock seals can significantly improve the energy efficiency and environment control of buildings, reducing costs. They provide an effective barrier against the elements, keeping loading docks safe and efficient. Dock seals also provide a positive seal between internal and external environments. The FPH Series Dock Seal has a hood-style head curtain in place of a head pad with fiberglass stays and metal pipe in the fabric hood to maintain support and serviceability. Designed for door openings up to 9 feet wide by 12 feet high (2743 mm by 3658 mm).
       2. Construction: Dock seals shall be constructed from high-density polyurethane foam and select grade pressure-treated, kiln-dried lumber. Cover material and wear pleats are top-grade fabrics providing superior performance and weather resistance.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Base Fabric: 22 ounce vinyl.
      2. Base Fabric: 40 ounce vinyl.
      3. Base Fabric: 16 ounce NOVALON.
      4. Base Fabric: 40 ounce NOVALON.
      5. Base Fabric: NOVA MAX-60.
      6. Base Fabric: NOVA MAX-1000.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Reinforcing Fabric (Multiple Layers): 18 ounce vinyl.
      2. Reinforcing Fabric (Multiple Layers): 22 ounce vinyl.
      3. Reinforcing Fabric (Multiple Layers): 40 ounce vinyl.
      4. Reinforcing Fabric (Multiple Layers): 16 ounce NOVALON.
      5. Reinforcing Fabric (Multiple Layers): 40 ounce NOVALON.
      6. Reinforcing Fabric (Multiple Layers): NOVA MAX-60.
      7. Reinforcing Fabric (Multiple Layers): NOVA MAX-1000.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Wear Pleat Spacing: WP4; 4 inches (102 mm).
      2. Wear Pleat Spacing: WP8; 8 inches (203 mm).
      3. Wear Pleat Spacing: WP16; 16 inches (406 mm).

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Wear Face: Side pad.
      2. Wear Face: Hood.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Scuff Guard: 4 feet (1219 mm).
      2. Scuff Guard: Full height.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Bottom Door Flaps: 1 side.
      2. Bottom Door Flaps: 2 sides.
      3. Bottom Door Flaps: 3 sides.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Fabric Color: Black.
      2. Fabric Color: Selected from manufacturer's standard options.

\*\* NOTE TO SPECIFIER \*\* Delete options not required.

* + - 1. Required Options:
         1. Wear pleats.
         2. Wear face.
         3. Scuff guards.
         4. Bottom door flaps.
         5. Pull rope system.
         6. Flame retardant foam and fabric.
         7. Top corner pleats only.
         8. 24-inch (610 mm) high yellow guide stripes.
         9. Blockouts.
         10. Galvanized metal backs.
         11. 2-inch (51 mm) foam-filled front on hoods.
         12. Chain weighted drop curtain.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* + 1. Dock Seals: FPU Series Dock Seal with Head Pad as manufactured by Nova Technology with the following characteristics:
       1. Operation: Dock seals can significantly improve the energy efficiency and environment control of buildings, reducing costs. They provide an effective barrier against the elements, keeping loading docks safe and efficient. Dock seals also provide a positive seal between internal and external environments. The FPU Series Dock Seal accommodates larger doors and provides positive foam seal and wiping action against truck sides. Provides full access side-to-side with this model. Designed for door openings up to 10 feet wide by 9 feet high (3048 mm by 2743 mm).
       2. Construction: Dock seals shall be constructed from high-density polyurethane foam and select grade pressure-treated, kiln-dried lumber. Cover material and wear pleats are top-grade fabrics providing superior performance and weather resistance.

\*\* NOTE TO SPECIFIER\*\* Delete types not required.

* + - 1. Base Fabric: 22 ounce vinyl.
      2. Base Fabric: 40 ounce vinyl.
      3. Base Fabric: 16 ounce NOVALON.
      4. Base Fabric: 40 ounce NOVALON.
      5. Base Fabric: NOVA MAX-60.
      6. Base Fabric: NOVA MAX-1000.

\*\* NOTE TO SPECIFIER\*\* Delete types not required.

* + - 1. Reinforcing Fabric (Multiple Layers): 22 ounce vinyl.
      2. Reinforcing Fabric (Multiple Layers): 40 ounce vinyl.
      3. Reinforcing Fabric (Multiple Layers): 16 ounce NOVALON.
      4. Reinforcing Fabric (Multiple Layers): 40 ounce NOVALON.
      5. Reinforcing Fabric (Multiple Layers): NOVA MAX-60.
      6. Reinforcing Fabric (Multiple Layers): NOVA MAX-1000.

\*\*NOTE TO SPECIFIER\*\* Delete types not required.

* + - 1. Wear Pleat Spacing: WP4; 4 inches (102 mm).
      2. Wear Pleat Spacing: WP8; 8 inches (203 mm).
      3. Wear Pleat Spacing: WP16; 16 inches (406 mm).

\*\*NOTE TO SPECIFIER\*\* Delete type not required.

* + - 1. Wear Face: Side pad.
      2. Wear Face: Head pad.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Scuff Guard: 4 feet (1219 mm).
      2. Scuff Guard: Full height.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Bottom Door Flaps: 1 side.
      2. Bottom Door Flaps: 2 sides.
      3. Bottom Door Flaps: 3 sides.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Fabric Color: Black.
      2. Fabric Color: Selected from manufacturer's standard options.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Required Options:
         1. Wear pleats.
         2. Wear face.
         3. Scuff guards.
         4. Bottom door flaps (1 to 3 sides).
         5. Drop curtains, with or without Velcro brand attachments.
         6. Pull rope system for drop curtains.
         7. Chain weighted drop curtain.
         8. 2-inch (51 mm) foam-filled drop curtains.
         9. Flame retardant foam and fabric.
         10. Top corner pleats only.
         11. 24-inch (610 mm) high yellow guide stripes.
         12. Blockouts.
         13. Galvanized metal backs.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* + 1. Dock Seals: FPHU Series Dock Seal with Hood-Style Head Curtain as manufactured by Nova Technology with the following characteristics:
       1. Operation: Dock seals can significantly improve the energy efficiency and environment control of buildings, reducing costs. They provide an effective barrier against the elements, keeping loading docks safe and efficient. Dock seals also provide a positive seal between internal and external environments. The FPHU Series Dock Seal features a fabric hood-style head curtain to accommodate larger doors and provide a positive foam seal and wiping action against truck sides. Provides full access side-to-side with this model. Designed for door openings up to 10 feet wide by 12 feet high (3048 mm by 3658 mm) and higher doors.
       2. Construction: Dock seals shall be constructed from high-density polyurethane foam and select grade pressure-treated, kiln-dried lumber. Cover material and wear pleats are top-grade fabrics providing superior performance and weather resistance.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Base Fabric: 22 ounce vinyl.
      2. Base Fabric: 40 ounce vinyl.
      3. Base Fabric: 16 ounce NOVALON.
      4. Base Fabric: 40 ounce NOVALON.
      5. Base Fabric: NOVA MAX-60.
      6. Base Fabric: NOVA MAX-1000.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Reinforcing Fabric (Multiple Layers): 22 ounce vinyl.
      2. Reinforcing Fabric (Multiple Layers): 40 ounce vinyl.
      3. Reinforcing Fabric (Multiple Layers): 16 ounce NOVALON.
      4. Reinforcing Fabric (Multiple Layers): 40 ounce NOVALON.
      5. Reinforcing Fabric (Multiple Layers): NOVA MAX-60.
      6. Reinforcing Fabric (Multiple Layers): NOVA MAX-1000.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Wear Pleat Spacing: WP4; 4 inches (102 mm).
      2. Wear Pleat Spacing: WP8; 8 inches (203 mm).
      3. Wear Pleat Spacing: WP16; 16 inches (406 mm).

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Wear Face: Side pad.
      2. Wear Face: Head pad.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Scuff Guard: 4 feet (1219 mm).
      2. Scuff Guard: Full height.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Bottom Door Flaps: 1 side.
      2. Bottom Door Flaps: 2 sides.
      3. Bottom Door Flaps: 3 sides.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Fabric Color: Black.
      2. Fabric Color: Selected from manufacturer's standard options.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Required Options:
         1. Wear pleats.
         2. Wear face.
         3. Scuff guards.
         4. Bottom door flaps.
         5. Pull rope system.
         6. Chain weighted drop curtain.
         7. Flame retardant foam and fabric.
         8. Top corner pleats only.
         9. 24-inch (610 mm) high yellow guide stripes.
         10. Blockouts.
         11. Galvanized metal backs.
         12. 2-inch (51 mm) foam-filled front on hoods.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* + 1. Dock Shelters: RF Series Dock Shelter as manufactured by Nova Technology with the following characteristics:
       1. Operation: Dock Shelters provide maximum dock protection and full access to trailers while minimizing pressure on the building wall. The RF Series features high wear-resistant fabric with double lock-stitched seams, bottom corner draft pads and standard 36 inch drop head curtain with fiberglass stays, protective corner reinforcement pleats and wind retention straps. The raked header with a translucent fiberglass top provides natural light, permits water drainage, and provides snow load support. Designed for door openings up to 12 feet wide x 12 feet high and higher doors.
       2. Construction: The dock shelter is constructed from select grade pressure-treated, kiln-dried wood side and head frame, top grade, abrasion-resistant fabric and translucent fiberglass panels.
       3. Base Fabric: 22 ounce vinyl.
       4. Base Fabric: 40 ounce vinyl.
       5. Base Fabric: 16 ounce NOVALON.
       6. Base Fabric: 40 ounce NOVALON.
       7. Base Fabric: NOVA MAX-60.
       8. Base Fabric: NOVA MAX-1000.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Taper: Yes.
      2. Taper: No.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Head Frame: Rake:
      2. Head Frame: Flat.
      3. Frame Construction: Solid kiln-dried pressure-treated lumber.
      4. Steel Support Bumpers: 21 inches (533 mm).

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Steel Support Bumpers: 27 inches (686 mm).
      2. Steel Support Bumpers: 33 inches (838 mm).
      3. Steel Support Bumpers: 39 inches (990 mm).
      4. Steel Support Bumpers: 45 inches (1143 mm).
      5. Steel Support Bumpers: 51 inches (1295 mm).
      6. Color: Black.
      7. Color: Selected from manufacturer's standard options.
      8. Features:
         1. Flexible fiberglass stays.
         2. Select grade pressure-treated, kiln-dried wood side and head frame.
         3. Frames covered with translucent fiberglass.
         4. Aluminum angle face edging.
         5. Top-grade fabrics utilized for superior performance and weather resistance.
         6. Vinyl covered foam "drop in" style draft pads.
         7. Steel support bumpers (black).
         8. Heavy-duty galvanized mounting hardware.
         9. 15-inch (381 mm) yellow guide stripes standard.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Required Options:
         1. Full-height yellow guide stripes.
         2. Shelter projection 24 inches (610 mm) standard - customizable to any projection.
         3. 2-inch (51 mm) foam front head curtain.
         4. Pull rope system.
         5. Hook and loop splits on head curtain.
         6. Head curtain drop over 54 inches (1371 mm).
         7. Frame cut-outs for obstructions.
         8. Non-projecting frame.
         9. Common member units.
         10. Ground level units.
         11. 18 oz. white vinyl on frames.
         12. Galvanized steel channel frame.
         13. Clear roof panels for extra lighting.
         14. Chain weighted drop curtain.
         15. Spring steel stays.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* + 1. Dock Shelters: SS Series Soft-Sided Shelter as manufactured by Nova Technology with the following characteristics:
       1. Operation: Dock Shelters provide maximum dock protection and full access to trailers while minimizing pressure on the building wall. The RF Series features high wear-resistant fabric with double lock-stitched seams, bottom corner draft pads and standard 36 inch drop head curtain with fiberglass stays, protective corner reinforcement pleats and wind retention straps. The raked header with a translucent fiberglass top provides natural light, permits water drainage, and provides snow load support. Designed for door openings up to 12 feet wide x 12 feet high and higher doors.
       2. Construction: The dock shelter is constructed from select grade pressure-treated, kiln-dried wood side and head frame, top-grade, abrasion-resistant fabric and translucent fiberglass panels.
       3. Base Fabric: 22 ounce vinyl.
       4. Base Fabric: 40 ounce vinyl.
       5. Base Fabric: 16 ounce NOVALON.
       6. Base Fabric: 40 ounce NOVALON.
       7. Base Fabric: NOVA MAX-60.
       8. Base Fabric: NOVA MAX-1000.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Taper: Yes.
      2. Taper: No.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Head Frame: Rake.
      2. Head Frame: Flat.
      3. Frame Construction: Solid kiln-dried pressure-treated lumber.
      4. Steel Support Bumpers: 21 inches (533 mm).

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Steel Support Bumpers: 27 inches (686 mm).
      2. Steel Support Bumpers: 33 inches (838 mm).
      3. Steel Support Bumpers: 39 inches (990 mm).
      4. Steel Support Bumpers: 45 inches (1143 mm).
      5. Steel Support Bumpers: 51 inches (1295 mm).
      6. Color: Black.
      7. Color: Selected from manufacturer's standard options.
      8. Features:
         1. Flexible fiberglass stays.
         2. Select grade pressure-treated, kiln-dried wood side and head frame.
         3. Frames covered with translucent fiberglass.
         4. Aluminum angle face edging.
         5. Top grade fabrics utilized for superior performance and weather resistance.
         6. Vinyl covered foam "drop in" style draft pads.
         7. Steel support bumpers (black).
         8. Heavy duty galvanized mounting hardware.
         9. 15 inch (381 mm) yellow guide stripe standard.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Required Options:
         1. Full height yellow guide stripes.
         2. Shelter projection 24 inches (610 mm) standard - customizable to any projection.
         3. 2 inch (51 mm) foam front head curtain.
         4. Pull rope system.
         5. Hook and loop splits on head curtain.
         6. Head curtain drop over 4 inches (1371 mm).
         7. Frame cut-outs for obstructions.
         8. Non-projecting frame.
         9. Common member units.
         10. Ground level units.
         11. 18 oz. white vinyl on frames.
         12. Galvanized steel channel frame.
         13. Clear roof panels for extra lighting.
         14. Chain weighted drop curtain.
         15. Spring steel stays.

\*\* NOTE TO SPECIFIER \*\* Delete if not required.

* + 1. Dock Shelters: SS Series Soft-Sided Shelter as manufactured by Nova Technology with the following characteristics:
       1. Operation: Dock Shelters provide maximum dock protection and full access to trailers while minimizing pressure on the building wall. The RF Series features high wear-resistant fabric with double lock-stitched seams, bottom corner draft pads and standard 36 inch drop head curtain with fiberglass stays, protective corner reinforcement pleats and wind retention straps. The raked header with a translucent fiberglass top provides natural light, permits water drainage, and provides snow load support. Designed for door openings up to 12 feet wide x 12 feet high and higher doors.
       2. Construction: The dock shelter is constructed from select grade pressure-treated, kiln-dried wood side and head frame, top grade, abrasion-resistant fabric and translucent fiberglass panels.
       3. Base Fabric: 22 ounce vinyl.
       4. Base Fabric: 40 ounce vinyl.
       5. Base Fabric: 16 ounce NOVALON.
       6. Base Fabric: 40 ounce NOVALON.
       7. Base Fabric: NOVA MAX-60.
       8. Base Fabric: NOVA MAX-1000.

\*\* NOTE TO SPECIFIER \*\* Delete type not required.

* + - 1. Taper: Yes.
      2. Taper: No.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Head Frame: Rake.
      2. Head Frame: Flat.
      3. Frame Construction: Solid kiln-dried pressure-treated lumber.
      4. Steel Support Bumpers: 21 inches (533 mm).

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Steel Support Bumpers: 27 inches (686 mm).
      2. Steel Support Bumpers: 33 inches (838 mm).
      3. Steel Support Bumpers: 39 inches (990 mm).
      4. Steel Support Bumpers: 45 inches (1143 mm).
      5. Steel Support Bumpers: 51 inches (1295 mm).
      6. Color: Black.
      7. Color: Selected from manufacturer's standard options.
      8. Features:
         1. Flexible fiberglass stays.
         2. Select grade pressure-treated, kiln-dried wood side and head frame.
         3. Frames covered with translucent fiberglass.
         4. Aluminum angle face edging.
         5. Top grade fabrics utilized for superior performance and weather resistance.
         6. Vinyl covered foam "drop in" style draft pads.
         7. Steel support bumpers (black).
         8. Heavy duty galvanized mounting hardware.
         9. 15 inch (381 mm) yellow guide stripe standard.

\*\* NOTE TO SPECIFIER \*\* Delete types not required.

* + - 1. Required Options:
         1. Full height yellow guide stripes.
         2. Shelter projection 24 inches (610 mm) standard - customizable to any projection.
         3. 2 inch (51 mm) foam front head curtain.
         4. Pull rope system.
         5. Hook and loop splits on head curtain.
         6. Head curtain drop over 54 inches (1371 mm).
         7. Frame cut-outs for obstructions.
         8. Non-projecting frame.
         9. Common member units.
         10. Ground level units.
         11. 18 oz. white vinyl on frames.
         12. Galvanized steel channel frame.
         13. Clear roof panels for extra lighting.
         14. Chain weighted drop curtain.
         15. Spring steel stays.

\*\* NOTE TO SPECIFIER \*\* Nova Dock Sentinel Safety Gates are durable, reliable and safe. They are easy to install and operate, and provide an effective barrier for personnel and equipment working near open dock doors, truck loading docks or other dangerous areas. Delete if not required.

* 1. SAFETY GATES
     1. Safety Gates: Dock Sentinel as manufactured by Nova Technology with the following characteristics:

\*\* NOTE TO SPECIFIER \*\* Delete models not required.

* + - 1. Model: DS-080F, part number DG-048-000.
         1. Gate Opening Width: 8 feet 0 inches (2438 mm).
         2. Vertical Clearance: 8 feet 8 inches (2642 mm).
         3. Load Stopping Capability: Up to 100 impacts of 2000 pounds (907 kg) load at 3 MPH (4.8 kMh).
      2. Model: DS-086F, part number DG-109-000.
         1. Gate Opening Width: 8 feet 6 inches (2590) mm).
         2. Vertical Clearance: 8 feet 8 inches (2642 mm).
         3. Load Stopping Capability: Up to 100 impacts of 1900 pounds (861 kg) load at 3 MPH (4.8 kMh).
      3. Model: DS-090F, part number DG-108-000
         1. Gate Opening Width: 9 feet 0 inches (2743 mm).
         2. Vertical Clearance: 9 feet 2 inches (2794 mm).
         3. Load stopping Capability: Up to 100 impacts of 1800 pounds (816 kg) load at 3 MPH (4.8 kMh).
      4. Structural: The uprights are constructed from 1/4 inch (6 mm) thick A-36 steel, formed and welded into a custom 6-1/2 inches (165 mm) web by 10-3/4 inches (273 mm) flanged channel for maximum door track protection. The channels are welded to 3/8 inch (9.5 mm) thick A-36 steel base plates and anchored to the floor with a total of (8) 5/8 - 11 by 4-1/2 inches (16 mm by 11 by 114 mm) long anchor bolts, included. Both arms of lower barrier are made from A-500 Grade B rectangular steel tubing, 5 by 2 by 1/4 inches (127 mm by 52 mm by 6 mm) thick, and joined in the middle when the gate is closed with a 14-inches (356 mm) long saddle. The saddle is a formed and welded channel made with gussets 1/4 inch (6 mm) thick A-36 steel. In addition to the saddle, there are also interlocking glad hands made from 1/4 inch (6 mm) thick A-36 steel to provide additional impact resistance. The hinges for the lower barrier are contained within an energy absorbing polymer for maximum impact protection with minimal damage to the barriers, material handling equipment and product. An upper barrier constructed from A-500 Grade B square steel tubing, 1-1/2 by 3/16 inches (38 mm by 4.8 mm) thick, is provided for status at a glance visual indication when the gate is closed and to keep pedestrians from tripping over the lower barrier. Both sides of the gate are independently powered with a total of (4) gas springs resulting in minimal manual lifting force to raise or lower the gate and latches are provided on each side to positively retain the gate in the open condition.
      5. Operation: Manually operated gate style barrier. When dock use is required, the dock safety gate is opened by simply lifting the gate into an upright position until latched. When dock use is finished, each side of the gate is unlatched and lowered back to the closed position.
      6. Dock Door Protection: Lower impact barrier with shock absorbing flex bushings and flexible center interlock.
      7. Door Track Protection: Vertical stanchions provide protection to 42 inches 1066 mm) off floor; yellow gate arms provide visible alert to 98 inches (2489 mm).
      8. Pedestrian Protection: Upper barrier is 42 inches (1066 mm) high and supports 200 pound (90 kg) weight in any direction per OSHA Standard 1910.
      9. Activation: 4 by gas spring balanced arms meet NIOSH requirements for operator force less than 50 pounds (22 kg).
      10. Lower Barrier Construction: 1/4 inch (6 mm) wall ASTM A 500 structural steel tubing.
      11. Finish: Safety yellow powder coat finish.

1. EXECUTION
   1. EXAMINATION
      1. Do not begin installation until substrates have been properly prepared.
      2. If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.
   2. INSTALLATION
      1. Install in accordance with manufacturer's instructions and in proper relationship with adjacent construction. Test for proper operation.
   3. PROTECTION
      1. Protect installed products until completion of project.
      2. Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION